## INDEX
Links in this File to Tables and Notes
Factory Integration
Table FAC1 | Acronyms used in this Report
Table FAC2 | Standards Important to the Factory Integration Roadmap
Table FAC3 | Factory Integration Difficult Challenges
Table FAC4 | Key Focus Areas and Issues for FI Functional Areas Beyond 2020
Table FAC5 | Stabilized FI Metrics with Recommended Values (Critical but Educational Values)
Table FAC6 | Factory Operations Technology Requirements
Table FAC7 | Context Data Importance for Good Equipment Visibility
Table FAC8 | Production Equipment Technology Requirements
Table FAC9 | Material Handling Systems Technology Requirements
Table FAC10 | Factory Information and Control Systems Technology Requirements
Table FAC11 | Facilities Technology Requirements
Table FAC12 | Security Technology Requirements
Table FAC13 | Big Data (BD) Technology Requirements
Table FAC14 | Augmenting Reactive with Predictiveand and Perscriptive (ARPP) Technology Requirements
Table FAC15 | Advanced Analytics and Applications (AAA) Technology Requirements
Table FAC16 | Digital Twin (DT) Technology Requirements
Table FAC17 | Key metrics that currently drive the cloud versus edge-device decision process for placement of solution components
Table FAC18 | Industry Internet of Things (IIoT) and the Cloud Technology Requirements
Table FAC19 | Integrated Supply Chain (ISC) Technology Requirements
Table FAC20 | Reliance on a Knowledge Network (KN) Technology Requirements
Table FAC21 | Stabilized FI Potential Solutions with Description
Table FAC22 | Crosscut Issues Relating to Factory Integration
Printable Notes
Table FAC6 notes | Explanation of Items for Factory Operations Requirements
Table FAC8 notes | Explanation of Items for Production Equipment Requirements
Table FAC9 notes | Explanation of Items for Material Handling Systems Requirements
Table FAC10 notes | Explanation of Items for Factory Information and Control Systems Requirements
Table FAC11 notes | Explanation of Items for Facilities Requirements
Table FAC13 notes | Explanation of Items for Big Data Technology Requirements
Table FAC14 notes | Explanation of Items for Augmenting Reactive with Predictive and Perscriptive (ARPP) Technology Requirements
Table FAC15 notes | Explanation of Items for Advanced Analytics and Applications Technology Requirements
Table FAC 16 notes | Explanation of Items for Digital Twin Technology Requirements
Table FAC 18 notes | Explanation of Items for Industry Internet of Things and the Cloud Technology Requirements
Table FAC 19 notes | Explanation of Items for Integrated Supply Chain Technology Requirements
Table FAC20 notes | Explanation of Items for Reliance on a Knowledge Network Technology Requirements
© 2021 IEEE. Personal use of this material is permitted. Permission from IEEE must be obtained for all other uses, in any current or future media, including reprinting/republishing this material for advertising or promotional purposes, creating new collective works, for resale or redistribution to servers or lists, or reuse of any copyrighted component of this work in other works.

## 2021_Acronyms
INDEX
Table FAC1 Acronyms used in this Report
| Acronym | Meaning | Acronym | Meaning
| ACSEC | Advisory Committee (AC) on Information Security and Data Privacy | ITRS | International Technology Roadmap for Semiconductors
| AMC | Airborne Molecular Contamination | JIT | Just-In-Time
| AMHS | Automated Material Handling System | LEED | Leadership in Energy and Environmental Design
| APC | Advanced Process Control | LP | Low Power
| ARAMS | Automated Reliability, Availability, and Maintainability Standard | MES | Manufacturing Execution System
| ARPP | Augmenting Reactive with Predictive and Prescriptive | MFL | Maximum Foreseeable Loss
| BD | Big Data | MHS | Material Handling System
| BEP | Back End Process | NGOs | Non-Government Organizations
| BKMs | Best Known Methods | NIST | National Institute of Standards and Technology
| CIP | Continuous Improvement Program | NPW | Non-Product Wafer
| CPS | Cyber-Physical System(s) | NTP | Networked Time Protocol
| CPU | Central Processing Unit | OEE | Overall Equipment Efficiency
| CSA | Control Systems Architectures | OEM | Original Equipment Manufacturer
| CVD | Chemical Vapor Deposition | PCL | Predictive Carrier Logistics
| DFM | Design for Manufacturing | PCS | Process Control Systems
| DM | Data Mining | PdM | Predictive Maintenance
| DOT | Deliver-On-Time | PE | Production Equipment
| DS | Decision Support | PFC | Perfluorocarbon
| DT | Digital Twin | PIC | Physical Interface and Carriers
| EES | Extremely Electrostatic Sensitive | PM | Preventative Maintenance
| EESM | Equipment Energy Saving Mode | POC | Point of Connection
| EFEM | Equipment Front-End Module | POD | Point of Delivery
| EFM | Electric Field Induced Migration | POE | Point of Entry
| EHM | Equipment Health Monitor | POP | Point of Process
| EMI | ElectroMagnetic Interference | POS | Point of Supply
| EOS | Electrical Overstress | POU | Point of Use
| EOW | Equipment Output Cycle Time Waste | PPM | Predictive and Preventative Maintenance
| EPT | Equipment Performance Tracking | PTP | Precision Time Protocol
| ESA | Electrostatic Attracted, Electrostatic Attraction | R&D | Research and Development
| ESD | Electrostatic Discharge | R2R | Run-to-Run (control)
| ESH/S | Environmental, Safety, Health, and Sustainability | RAM | Reliability, Availability, and Maintainability
| EUV | Extreme Ultraviolet | RM | Real Metrology
| EUVL | Extreme Ultraviolet Lithography | ROI | Return on Investment
| ExD | Excursion Detection (VM capability) | RUL | Remaining Useful Life
| FC | Fault Classification | SCOR | Supply Chain Operations Reference
| FD | Fault Detection | SECS | SEMI Equipment Communication Standard
| FDC | Fault Detection and Classification | SEM/TEM | Scanning Electron Microscopy/Transmission Electron Microscopy
| FEP | Front end Process | SESMC | Subsystem Energy Saving Mode Communication
| F-GHG | fluorinated greenhouse gases | SFORMS | Secured Foundation of Recipe Management Systems
| FI | Factory Integration | SHL | Super Hot Lots
| FICS | Factory Information and Control System | SM | Smart Manufacturing
| FO | Factory Operations | SMet | Smart Metrology (e.g., a VM capability)
| FOUP | Front Opening Unified Pod | SMC | Surface Molecular Contamination
| FP | Fault Prediction | SME | Subject Matter Expertise, or Subject Matter Expert
| GEM | Generic Equipment Model | SOAP | Simple Object Access Protocol
| HSMS | High-Speed SECS Message Services | SOS | Software as a Service
| HVM | High Volume Manufacturing | SPC | Statistical Process Control
| I/O | Input/Output | STS | need to define
| I4.0 | Industry 4.0 | TH | Throughput
| IC | Integrated Circuit | TR | Technical Requirements
| ID | Identity | UF | Ultra-Filtration
| IDM | Integrated Device Manufacturer | UPW | Ultra-Pure Water
| IFT | International Focus Team | VM | Virtual Metrology
| IGPT | Insulated-Gate Bipolar Transistor | W2W | Wafer-to-Wafer (control)
| IM | Integrated Measurement | WIP | Work in Process
| iNEMI | International Electronics Manufacturing Initiative | WIW | Within Wafer (control)
| IoT | Internet of Things | WTW | Wait Time Waste
| IIoT | Industrial Internet of Things | XML | eXtensible Markup Language
| IP | Intellectual Property | YEx | Yield Excursion
| IRDS | International Roadmap for Devices and Systems | YMS | Yield Management System
| ISMI | International SEMATECH Manufacturing Initiative | YP | Yield Prediction
| ISO | International Standards Organization
| IT | Information Technology

## 2021_Standards
INDEX
Table FAC2 Standards Important to the Factory Integration Roadmap
| Number | Title
| IEST-RP-CC012.2 | Considerations in Cleanroom Design
| ISO 14644-1 | Cleanrooms and controlled environments, Part 1: Classification of air cleanliness
| SEMI E5 | SEMI Equipment Communications Standard 2 Message Content (SECS-II)
| SEMI E6 | Guide for Semiconductor Equipment installation Documentation
| SEMI E10 | Specification for Definition and Measurement of Equipment Reliability, Availability, and Maintainability (RAM) and Utilization
| SEMI E30 | Specification for the Generic Model for communications and Control of Manufacturing Equipment (GEM)
| SEMI E33 | Specification for Semiconductor Manufacturing Facility Electromagnetic Compatibility
| SEMI E37 | High-Speed SECS Message Services (HSMS) Generic Services
| SEMI E43 | Guide for Measuring Static Charge on Objects and Surfaces.
| SEMI E51 | Guide for Typical Facilities Services and Termination Matrix
| SEMI E54 | Specification for Sensor/Actuator Network
| SEMI E58 | Specification for Automated Reliability, Availability, and Maintainability (ARAMS)
| SEMI E78 | Guide to Assess and Control Electrostatic Discharge (ESD) and Electrostatic Attraction (ESA) for Equipment
| SEMI E87 | Specification for Carrier Management (CMS)
| SEMI E116 | Specification for Equipment Performance Tracking
| SEMI E120 | Specification for the Common Equipment Model
| SEMI E125 | Specification for Equipment Self Description
| SEMI E126 | Specification for Equipment Quality Information Parameters
| SEMI E129 | Guide to Assess and Control Electrostatic Charge in A Semiconductor Manufacturing Facility
| SEMI E132 | Specification for Equipment Client Authentication
| SEMI E133 | Specification for Automated Process Control
| SEMI E134 | Specification for Data Collection Management
| SEMI E138 | XML Semiconductor Common Components
| SEMI E148 | Specification for Time Synchronization and Definition of the TS-Clock Object
| SEMI E151 | Guide for Understanding Data quality
| SEMI E160 | Specification for Communication of Data Quality
| SEMI E163 | Guide for the Handling of Reticles and Other Extremely Electrostatic Sensitive (EES) Items Within Specially Designated Areas
| SEMI E164 | Specification for EDA Common Metadata
| SEMI E167 | Specification for Equipment Energy Saving Mode Communications (EESM)
| SEMI E169 | Guide for Equipment Information System Security
| SEMI E170 | Specification for Secured Foundation of Recipe Management Systems (SFORMS)
| SEMI E171 | Specification for Predictive Carrier Logistics (PCL)
| SEMI E175 | Specification for Subsystem Energy Saving Mode Communication (SESMC)
| SEMI E176 | Guide to Assess and Minimize Electromagnetic Interference (EMI) in a Semiconductor Manufacturing Environment
| SEMI S2 | Environmental, Health, and Safety Guideline for Semiconductor Manufacturing Equipment
| SEMI S23 | Guide for Energy, Utilities, and Materials Use Efficiency of Semiconductor Manufacturing Equipment

## 2021_Challenges
INDEX
Table FAC3 Factory Integration Difficult Challenges
| Difficult Challenges through 2025 | Description
| 1. Responding to rapidly changing, complex business requirements | • Increased expectations by customers for faster delivery of new and volume products (design à prototype and pilot à volume production)
• Developing metrics on performance of factory integration systems and understanding how these metrics translate to factory financial information
• Rapid and frequent factory plan changes driven by changing business needs
• Ability to load the fab within manageable range under changeable market demand, e.g., predicting planning and scheduling in real-time
• Enhancement in customer visibility for quality assurance of high reliability products; tie-in of supply chain and customer to Factory Information and Control Systems (FICS) operations
• Addressing the Big Data issues, thereby creating an opportunity to uncover patterns and situations that can help prevent or predict unforeseeable problems difficult to identify such as current equipment processing / health tracking and analytical tools
• To address security gaps (e.g., data ownership, access authentication and authorization systems) that have prevented microelectronics industry's migration to Cloud based Big Data Analytics
• To strengthen information security: Maintaining data confidentiality (the restriction of access to data and services to specific machines/human users) and integrity (accuracy/completeness of data and correct operation of services), while improving availability.
• To allow data sharing with appropriate level of IP protection across systems and parties to realize Smart Manufacturing tenets.
Address complexity and requirements associated with demands coming from the move to an integrated supply chain in smart manufacturing (e.g., high reliability end-consumers requirements, and trust in sharing between partners across the supply chain to support traceability and data mining).
Determine mechanisms to achieve higher productivity per square foot (meter) of space without incurring higher COO of equipment.
| 2. Managing ever increasing factory complexity | • Quickly and effectively integrating rapid changes in process technologies
• Complexity of integrating next generation equipment into the factory
• Increased requirements for high mix factories. Examples are (1) significantly short life of products that calls frequent product changes, (2) the complex process control as frequent recipe creations and changes for process tools and frequent quality control criteria due to small lot sizes, (3) managing load on tools
• Manufacturing knowledge and control information needs to be shared as required among factory operation steps and disparate factories in a secure fashion
• Need to concurrently manage new and legacy FICS software and systems with increasingly high interdependencies
• Need to protect fab and equipment operation control systems as well as facility’s instrumentation and control systems from unauthorized operation or alteration from both inside fab and outside in consideration with - Synchronizing/harmonizing security measures for various level of control systems (e.g., equipment, SCADA, MES) in the Fab. - Continuously supporting all updates for all systems critical for factory operation (extremely challenging for legacy systems) without compromising their functionality, performance, and security
• Ability to model factory performance as part of an integrated supply chain to optimize output and improve cycle time.
• Need to manage clean room environment for more environment susceptible processes, materials, and, process and metrology tools
• Addressing need to understand and minimize energy resource usage and waste; determining what the energy usage profile actually is; e.g., need to integrate fab management and control with facilities management and control
• Providing a capability for more rapid adaptation, re-use and reconfiguration of the factory to support capabilities such as rapid new process introduction and ramp-up.
• Communication protocols developed for semiconductor manufacturing are not aligned with trends in information technology communication such as web services.
• Meeting challenges in maintaining yield and improving maintenance practices resulting from movement to new process materials that may be corrosive, caustic, environmentally impacting, molecularly incompatible etc.
• Addressing factory integration challenges to assess and integrate EUV systems into the factory infrastructure
• Address process hazard management issues
• Addressing Airborne Molecular Contamination (AMC) challenges through possibly changing factory operation approach (e.g., maintaining vacuum in specific areas), as well as providing necessary interfaces, information and technologies (e.g., virtual metrology and APC).
• Minimizing and isolating sources of particulate contaminants that impact yield (e.g., defining mechanisms to detect and measure, and analysis methods such as virtual metrology to isolate and predict).
• Maintaining equipment availability and productivity, and minimizing equipment variability, while managing increase in sensors and systems, and associated data volume increases within and outside the equipment, coordinated to support new paradigms (e.g., management of energy expended by the equipment and the fab in general, augmenting reactive capabilities with predictive)
• Linking yield and throughput prediction into factory operation optimization.
• Achieving real-time simulation of all fab operations as an extension of existing system with dynamic updating of simulation models
• Understanding and managing queue times (time between operations/segments) and production of product within those times to achieve acceptable product quality
• Managing and protecting IP, avoiding security issues such as malware attacks, and protection of the facility’s instrumentation and control systems from attack
• Addressing FI issues associated with implementing emerging technology revolutions (rather than evolutions) in achieving production targets, including rapid integration of new tools, components and materials, leveraging existing infrastructure, ramping up on new technology ramp-up
• Addressing shifting focus from line width pitch shrinks, to 3D and emerging disruptive technologies
| 3. Meeting factory and equipment reliability, capability, productivity and cost requirements per the Roadmap | • Increased impacts that single points of failure have on a highly integrated and complex factory need the system to have multiple cross checks and software that can be adversarial to learn and improve the outcomes when one or more failures occur.
• Achieving better communication between equipment suppliers and users with respect to equipment requirements and capabilities
• Improved bi-direction information exchange between equipment and factory systems to achieve equipment and factory reliability, capability and productivity objectives
• Design-in of equipment capability visualization in production equipment; design-in of APC (R2R control, FD , FC and SPC) in multiple levels (modules, production equipment, cells, floor, etc.) to meet quality requirements
• Equipment data, analytics and visualization to support equipment health monitoring (EHM)
• Address structured incorporation of subject matter expertise (SME) into the lifecycle of analytical solutions (from planning through development, deployment and maintenance)
• Address security issues that hinders data sharing between equipment users and suppliers, and up and down across the supply chain, which is needed to support advanced capability, reliability, and productivity solutions.
• Establish cost/benefit analysis templates for balancing IP/security risk against expected return, where parties seek to collaborate through the exchange of specific data sets, so that parties can agree when to share data and when not.
• Standardize legal and commercial guidelines for value-sharing, where solutions for advanced capability, reliability or productivity are developed through the collaboration of parties (each providing their own background data and SME effort), so that data-derived IP resulting from collaborative efforts can benefit all parties appropriately.
• Developing and implementing methods that reduce the use of NPW (non-product wafers) and the associated lost production time
• Reducing undesired wait-time waste; developing wait-time waste reporting for tools; providing standardized equipment wait-time waste metrics reporting to support fab-wide equipment wait-time waste management
• Augmenting reactive with a predictive paradigm for scheduling, maintenance and yield management
• Meeting tighter and more granular control requirements such as wafer-to-wafer (e.g., single-wafer oriented) and within wafer utilizing technologies such as virtual metrology
• Yield mining techniques that support root cause analysis for determination of contributions to yield loss in the process stream.
• Addressing the move towards "lights out" human-less operation in the fab to meet goals such as contamination levels.
• Methods to provide more comprehensive traceability of individual wafers to identify problems to specific process areas
• Availability of published Standards for supply chain traceability of critical components and parts spares, e.g., for better understanding of lifetime, suitability, or robustness of them
• Standards and best practices to support providing degradation characteristics of components from suppliers for improved tracking and predicting of failures
• Comprehensive management that allows for automated sharing and re-usages of complex engineering knowledge and contents such as process recipes, APC algorithms, FD and C criteria, equipment engineering best known methods
• EOS is suspected of causing latent yield issues (traditional countermeasures against ESD could worsen the EOS). To quantify EOS contribution, research is needed.
| 4. Cross leveraging factory integration technologies across boundaries such as 300 mm and 450 mm to achieve economy of scale | • Addressing the potential data explosion and other big data issues associated with crossing a technology boundary
• Ensuring the advantage of the technology change to implement the appropriate factory integration enhancements such as control system paradigm shift.
• Understanding the software roadmap for moving across these technology boundaries.
450 mm era: Effecting architectural and other changes as necessary at an affordable cost to maintain or improve wafer-throughput-to-footprint levels in migration to 450 mm
| 5. Addressing the migration to smart manufacturing | • Achieving a state of integration of analytics and knowledge network integration to the point where no knowledge is left behind
• Achieving compatibility of existing systems that are largely reactive with emerging predictive paradigms of operation, such as Predict Maintenance and yield prediction
• Achieving a state of prediction in facilities where 1) yield and throughput prediction is an integral part of factory operation optimization; and 2) real-time simulation of all fab operations occurs as an extension of existing system with dynamic updating of simulation models.
• Full integration of facilities with a digital twin network for prediction of all performance metrics.
• Integration of production with up and downstream supply chain to support optimization of production with respect to final customer experience.
• IIoT infrastructures including cloud-based solutions that are optimized fully to performance metrics (and not hindered by limitations in infrastructure, security, etc., that imping on the optimization of the infrastructure).
| Difficult Challenges Beyond 2025 | Summary of Issues
| 1. Meeting the flexibility, extendibility, and scalability needs of a cost-effective, leading-edge factory | • Evaluating and implementing revolutionary disruptive technologies such as distributed autonomous control at the appropriate time to maximize cost competitiveness
• Determining the appropriate time to move to 450mm for all high volume commodity production
• Consider the possibility of self-evolving and self-configuring FI technologies such as data analysis and prediction where software (re-)configuration tasks are greatly reduced
• Adoption of augmented reality capabilities for enhanced human machine interaction
• Adoption and adaptation of newer data security technologies (e.g. quantum cryptography, blockchain) to facilitate information exchange in the supply chain and support traceability for products (e.g., identities of equipment used for production, production conditions, lot's test data).
• Cost and task sharing scheme on industry standardization activity for industry infrastructure development
• Achieving the "prediction vision" of a state of fab operations where (1) yield and throughput prediction is an integral part of factory operation optimization, and (2) real-time simulation of all fab operations occurs as an extension of existing system with dynamic updating of simulation models.
| 2. Increasing global restrictions on environmental issues | • Addressing the move towards global regulations
• Developing methods for increasing material reclamation
• Proactively addressing future material shortages, such as non-renewable chemicals
| 3. Post-conventional Semiconductor manufacturing uncertainty | • Uncertainty of novel device types replacing conventional CMOS and the impact of their manufacturing requirements on factory design
• Timing uncertainty to identify new devices, create process technologies, and design factories in time for a low risk industry transition
• Potential difficulty in maintaining an equivalent 0.7´ transistor shrink per year for given die size and cost efficiency

## 2021_KeyFocusAreas
INDEX
Table FAC4 Key Focus Areas and Issues for FI Functional Areas Beyond 2020
| Functional Area | Key technology focus and issues
| Factory Operations (FO) | 1) Systematic productivity improvement methodology of the current “lot-based” manufacturing method prior to 450mm insertion
2.) Challenges in moving to smaller lot and single wafer aspects of factory operations
3) Interdisciplinary factory productivity improvement method such as systematic factory waste visualization of manufacturing cycle times and factory output opportunity losses
4) Extendable and reconfigurable factory service structure
| Production Equipment (PE) | 1) 450 mm production tool development
2) for integration into the factory information system; supporting bridge capabilities to 450 mm
3) Determining context data set for equipment visibility
4) Equipment health monitoring (EHM) and fingerprinting to support improved uptime.
5) Run rate (throughput) improvement and reduction of equipment output waste that comes from NPW and other operations
6) Improving equipment data quality and data accessibility to support capabilities such as APC and e-Diagnostics
7) Develop equipment capabilities to support the move to a predictive mode of operation (including virtual metrology, predictive maintenance, predictive scheduling and yield prediction and feedback); examples include reporting equipment state information, time synchronization, and equipment health monitoring (EHM) and reporting.
8) Migrate to a mode of operation where APC is mandatory for proper execution of process critical steps
9) Design, Develop and implement (standardized where appropriate) capabilities for utility (e.g., electricity) reduction such as support for idle mode, improved scheduling, and communication between host and equipment for energy savings
| Automated Material Handling Systems (AMHS) | 1) Reduction in average delivery times,
2) Avoid tool starvation
3) More interactive control with FICS and PE for accurate scheduled delivery, including (predictive) scheduling/dispatch, maintenance management, and APC
4) Aim for continuous improvement in reliability and corresponding minimization of downtime
5) 450 mm specific AMHS issues
6) AMHS interaction with other wafer transport and storage systems such as sorter and load port
| Factory Information and Control Systems (FICS) | 1) Increased reliability of FICS systems such as maintenance management
2) Increased FICS performance for more complex factory operation, such as decision speed and accommodating larger data sets
3) Enhanced system extendibility including extensibility across fabs
4) Utilize FICS information to achieve waste-reduction (e.g., wait-time waste, unscheduled downtime, and wafer scrap) and sustainability (e.g., resource conservation)
5) Facilitate enhancement of reactive with predictive approach to operations (e.g., planning and scheduling, maintenance, virtual metrology and yield prediction and feedback)
6) Determining approaches to control (e.g., distributed versus centralized) and when to institute disruptive control systems changes (e.g., at 450 mm introduction)
7) Achieving minimum downtime, seamless transition, and uninterrupted operations in production throughout the software upgrade process
| Facilities | 1) Continuous improvement to maintain facility systems viability
2) Minimization of facilities induced production impacts
3) Facility cost reduction
4) Determining and addressing emerging technology requirements such as AMC (Airborne Molecular Contamination) control, 450mm, 3D, etc.
5) Maintaining safety in facilities operations (e.g., in response to a seismic event)
6) Even more aggressive focus on environmental issues and optimization to environmental targets.
7) Facility utility reduction
| Information Security | 1) The roadmap continues defining the current challenges and potential solutions for information security including secure data partitioning and IP separation. The roadmap begins to define technology requirements. Initial focus on itemizing technology requirements.
| Environmental Safety and Health (ESH) | 1) The roadmapping process will continue to quantify factory environmental factors
2) Roadmapping from 2015 will include new materials, sustainability and green chemistry
3) Provide proactive engagement with stakeholder partners and reset strategic focus on the roadmap goals.
4) Continue focus on factory, and supply chain safety for employees and the environment
| Yield Enhancement (YE) | 1)The road mapping focus will move from a technology orientation to a product/application orientation.
2) Airborne molecular contamination (AMC), packaging, liquid chemicals and ultra-pure water were identified as main focus topics for the next period.
3) Electrical characterization methods, Big Data and modeling will become more and more important for yield learning and yield prediction.
| Smart Manufacturing | 1)The roadmap will continue to provide increased focus on smart manufacturing tenets providing narrative, technical requirements and potential solutions for each tenet. These tenets (listed below) are big data, augmenting reactive with predictive, advanced analytics and applications, digital twin, IIoT and the cloud, integrated supply chain, and reliance on a knowledge network.
| Big Data (BD) | 1) Optimization of data storage volumes and data access to achieve FI objectives and enable applications to plug and play
2) Speed improvement in collecting, transferring, storing and analyzing data
3) Software optimization to gather data from multiple systems and sources for analysis resulting on actionable decisions
4) Data quality improvements to address issues of time synchronization, accurate compression / decompression, and merging of data form multiple sources collected at potentially varying data rates
5) Migrating from relational data storage infrastructure to largely big data friendly infrastructure such as Hadoop, along with small relational component.
6) Algorithm development and implementation to support emerging capabilities such as predictive and machine learning
| Augmenting Reactive with Predictive and Prescriptive (ARPP) | 1) Improved data quality to support effective prediction
2) Prediction solutions tied to application financials for optimized benefit
3) Integration of predictive functions (data, algorithm, user interface, and cross-leveraging capabilities) as an augmentation of existing systems
4) Move to real-time simulation of all fab operations occurring as an extension of existing system with dynamic updating of simulation models
| Advanced Analytics and Applications (AAA) | 1) Defining analytics for the enhancement of existing applications as well as for the realizing of new applications.
2) Understanding the impact on an opportunities for analytics and applications in big data environments.
| Digital Twin (DT) | 1) provide a vision for a DT framework of DT classes existing at all levels of the ISA-95 infrastructure
2) Outlining technical requirements for DT classes of run-to-run (R2R) control, Predictive Maintenance (PdM) and Virtual Metrology (VM) that leverage existing capabilities.
3) Addressing evolutionary aspects of control system and control system architectures such as granularity, speed, quality, and capability.
4) Addressing potentially revolutionary aspects of control systems and control systems architectures such possible moves to cloud computing, distributed/autonomous control, and artificial intelligence enhanced control
5) Addressing the framework to integrate monitoring and closed loop control tied to all semiconductor manufacturing key performance indices – including engineering and manufacturing control levels.
| Industrial Internet of Things (IIoT) and the Cloud | 1) Defining IIoT and cloud drivers and the distribution of intelligence between the cloud and edge devices.
2) Understanding the impact of issues such as performance, data sharing and security on cloud support decision-making
| Integrated Supply Chain (ISC) | 1) Addressing the capability to integrate with supply-chain framework for value chain control.
2) Exploring issues such as latency, confidentiality and data integrity and their impact on solutions that use and integrated supply chain.
| Reliance on a Knowledge Network (KN) | 1) Emphasizing the importance of SME throughout project workflows and across SM tenets.
2) Defining mechanisms for incorporating subject-matter-expertise (SME) into to analytics solutions with a goal of "no knowledge left behind"

## 2021_StabilizedMetrics
INDEX
Table FAC5 Stabilized FI Metrics with Recommended Values (Critical but Educational Values)
| Functionality Area | Metric/ Requirement | Recommended value/level | Year of Stabilization | Justification
| Factory Operations (FO) | N/A
| Production Equipment (PE) | Maximum recommended electrostatic field at chrome mask surfaces (V/m) for EFM | 0 | 2017 | No amount of electric field exposure can be regarded as safe for a chrome reticle. The recommended field value should reduce the risk of degradation to an acceptable level over the normal production lifetime of a reticle.
| Automated Material Handling Systems(AMHS) | Time required to integrate process tools to AMHS (minutes per LP) (300 mm) | 5 | 2014 | The value is important to keep disruption to production minimum, but it doe not need roadmap as it already reaches practical limit with currently adopted interface between PE and AMHS
| Factory Information & Control Systems (FICS) | Wafer-level (within-lot) recipe / parameter adjustment, e.g., for W2W control | YES | 2015 | This metric indicates FICS capability to facilitate wafer-to-wafer recipe and parameter adjustment and supports the ability to have multiple lots per carrier, which have been widely realized.
| Facilities | Facility cleanliness level (ISO 14644-1) | Class 6 | 2013 | Wide adoption of minienvironment for the critical areas/systems eased Facility cleanliness level requirement
|  | Design Criteria for Facility critical vibration areas (lithography, metrology, other) (mm/sec) | 6.25 (VC D) | circa 2011 | Observing the value is critical for area of the primary manufacturing floor in which a significant portion of the equipment is highly sensitive to floor vibration. But required measures are known and have been implemented.
|  | Design Criteria for Facility non-critical vibration areas (mm/sec) | 50 (VC A) | circa 2011 | The metric is for the area where all or some of the equipment is only moderately vibration sensitive. No need for special consideration to realize the value.
| Security | N/A |  |  | Metrics for security will be provided in future versions of the roadmap.
| Smart Manufacturing (SM) | N/A |  |  | Metrics for SM tenets will be provided in future versions of the roadmap.

## 2021_FactoryOperations
INDEX
Table FAC6 Factory Operations Technology Requirements
| Year of Production | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| Wafer Diameter (mm) | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 450 | 450 | 450 | 450 | 450 | 450
Factory Cycle Time (days/ mask layer) of product lots
| for 25 wafer lots, 300 mm | 1 | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Normalized Factory Equipment Output Cycle Time Waste (EOW)** | 1 | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
Bottle neck equipment
| Normalized Availability | 1 | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Normalized Per cent of NPW to product wafers** | 1 | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Normalized Overall NPW activities versus production wafers activities (wafer move count ratio)** | 1 | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
Manufacturable solutions exist, and are being optimized
Manufacturable solutions are known
|  | Interim solutions are known | ¿
Manufacturable solutions are NOT known
|  | Item is impacted by 450mm transition | **

## Notes for FO
INDEX
Explanation of Items for Factory Operations Requirements
| Item | Explanation
| Wafer diameter | All the values are for 300mm wafer. Values beyond 2025 will be amended as more 450 mm requirements become available. Factory cycle time, for an example, is thought to become considerably longer than 300 mm due to longer process time of beam equipment (litho, ion implantation, inspection, etc.) for 450 mm
| Normalized Equipment Output Cycle Time waste (EOW) (%): 25 wafers in a carrier, high mix production | EOW is defined as normalized difference between instantaneous throughput and throughput averaged over a period that contains a usual production equipment usage cycle that includes maintenance procedure (such as 1 week to 1 month period). The instantaneous throughput (TH0) is such that observed during continuous runs of wafers without process changes before and after. EOW for a single equipment can be defined as;
EOW = (TH25-TH0)/TH0 × 100 [%]
Where TH25 is averaged throughput in a 25 wafers per a carrier manufacturing environment.
Factory EOW is defined as a total sum over all the production tools used for that product divided by N the # of total tools [%].
Factory EOW =S((TH25-TH0)/ TH0) / N × 100 [%]
FI ITWG conducted a preliminary survey on limited production tools. Factory EOW may be refined as more EOW data become available. The values are for 25 wafers in a carrier, high mix production.
| High mix operation | High mix is defined as the followings:
• Running more than three technology generations concurrently in the same Fab
• Running more than ten process flows within the same technology generation
• Running more than 50 products concurrently through the Fab
• Many of small lots of 1–10 wafers in size
• Running an average of less than 50 wafers between reticle changes for each lithography expose equipment
• Lot starts are based on customer orders. There is a daily variation in the number of lots you start with different products and process flows
• At least five large volume products (product flows) with no one product having >50% of production volume
| Normalized Bottle neck equipment availability | A bottleneck tool usually refers to a lithography tool.
Availability is defined in SEMI E10 as “the probability that the equipment will be in a condition to perform its intended function when required.”
| Normalized Per cent of NPW to product wafers | NPW are the non-production wafers includes dummy wafer, process qualification wafer and equipment calibration wafers and so on. And the percentage of NPW to product wafers is the ratio of NPW wafers count compared to total production wafer counts in production floor at any time.
| Normalized Overall NPW activities versus production wafers activities | Total equipment-driven non-production wafers processed on equipment divided by total production wafers processed on equipment, for the same time period, assuming that equipment is running at designed availability and planned utilization rates. Typical non-production wafers include test wafers, monitor wafers, calibration wafers. The requirement as shown is for all production (non-metrology) equipment.
NOTE: Indicated entries are normalized by using 2020 as base (1.0)

## 2021_ContextData
INDEX
Table FAC7 Context Data that Equipment Can Produce for Good Equipment Visibility
| Data Usages | Data Usage “Key” Information
|  | Equipment activity context | Time stamp for host observation
| R2R control FDC, FICS data usages | n Tool name | Inter factory-level
|  | n Chamber index / STS | (Factory wide)
n Processing index
n Recipe ID
n Recipe Step Number
n Product ID
n Wafer ID
| Tool-to-facility combination activity | n Tool name | Inter-Tool-level
|  | n Chamber index / STS | External sensors need their own time stamps
n Eq status (e.g., maintenance state)
n Processing index
n ID to indicate interactive control events
Additional sensor data utilization
| Within-tool activity data utilization | n Task ID | Intra-Tool-level
|  | n Processing index / Wafer locations | +/- equipment heart beat frequency
n Internal control events

## 2021_ProdEquip
INDEX
Table FAC8 Production Equipment Technology Requirements
| Year of Production | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| Wafer Diameter (mm) | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 450 | 450 | 450 | 450 | 450 | 450
| Process equipment availability (A80)--300 mm | >96% | >96% | >96% | >96% | >96% | >96% | >96% | >96% | >96% | >96% | >96% | >96% | >96% | >96% | >96%
| Process equipment availability (A80)--450 mm** | [5 empty] | > 93% | > 93% | > 93% | > 93% | > 93% | > 93% | > 93% | > 93% | > 93% | > 93%
| Metrology equipment availability (A80)--300 mm | >98% | >98% | >98% | >98% | >98% | >98% | >98% | >98% | >98% | >98% | >98% | >98% | >98% | >98% | >98%
| Metrology equipment availability (A80)--450 mm** | [5 empty] | > 96% | > 96% | > 96% | > 96% | > 96% | > 96% | > 96% | > 96% | > 96% | > 96%
| Maximum allowed electrostatic field on wafer and mask surfaces (V/m) for ESD prevention | 1400 | 1300 | 1100 | 1000 | 900 | 775 | 700 | 650 | 550 | TBD | TBD | TBD | TBD | TBD | TBD
| Minimum equipment data output rates (Hz) from a tool | 100 Hz | 100 Hz | 100 Hz | 1 kHz | 1 kHz | >1 kHz | >1 kHz | >1 kHz | >1 kHz | TBD | TBD | TBD | TBD | TBD | TBD
| Pervasiveness of APC as an integral part of equipment design and operation | All | All | All | All | All | All | All | All | All | All | All | All | All | All | All
| Pervasiveness of predictive technologies such as VM, PdM, yield prediction and predictive scheduling in certain equipment components (e.g., vacuum, abatement, gas supply systems) feeding into overall equipment predictive solution, to support improvements such as reduction in unscheduled downtime and improved yield. | Partial | Partial | Partial | All | All | All | All | All | All | All | All | All | All | All | All
| Pervasiveness of EHM capability as a common health indication capability across tools | All | All | All | All | All | All | All | All | All | All | All | All | All | All | All
Standards for production equipment providing reporting on self-diagnosis and requests for maintenance along with appropriate parts to support PdM and parts inventory management.
Manufacturable solutions exist, and are being optimized
Manufacturable solutions are known
|  | Interim solutions are known | ¿
Manufacturable solutions are NOT known
|  | Item is impacted by 450 mm transition | **

## Notes for PE
INDEX
Explanation of Items for Production Equipment Requirements
| Item | Explanation
| Process equipment availability (A80) | Availability is defined as 100% minus (scheduled downtime% + unscheduled downtime %). The metric in the table is the requirement for an 80% confidence (i.e., equipment is at or above this value 80% of the time) for each individual process (non-metrology) equipment, over a period of one week of 7 × 24 operations. Scheduled and unscheduled downtimes are defined in SEMI E10. Note: The value shown in the process equipment table is the minimum A80 value for all equipment - please refer to the Factory Operations requirements table for availability requirements specific to factory bottleneck equipment. Process equipment availability of 450mm is expected to approach that of 300mm over time.
| Metrology availability (A80) | Availability is defined as 100% minus (scheduled downtime% + unscheduled downtime%). The metric in the table is the requirement for an 80% confidence (i.e., equipment is at or above this value 80% of the time) for each individual metrology equipment, over a period of one week of 7 × 24 operations. Scheduled and unscheduled downtimes are defined in SEMI E10. Challenges to keeping availability at existing levels occur because of increasing complexity of devices and corresponding device measurement.
| Maximum allowed electrostatic field on wafer and mask surfaces (V/m) for ESD (Electric static discharge) prevention | Refer SEMI standards E78 and E43 for measurement methods. This guidance does not apply to EFM prevention.
(SEMI E78: Electrostatic Compatibility – Guide to Assess and Control Electrostatic Discharge (ESD) and Electrostatic Attraction (ESA) for Equipment.
SEMI E43: Guide for Measuring Static Charge on Objects and Surfaces.)
| Minimum equipment data output rates (Hz) from a tool | Minimum rate at which any parameter defined as available by the equipment supplier shall be reportable from an equipment.
| Pervasiveness of APC as an integral part of equipment design and operation | Pervasiveness is defined as a percentage of tools and tool components that have been designed with the expectation that APC capabilities including R2R control and FDC are an integral and even required part of operation. The APC capability may or may not be embedded in the tool, however if is a critical component of operation. Minimal is defined as less than 25%. Partial is defined as 25-75% and All is defined as greater than 75%.
| Pervasiveness of predictive technologies such as VM, PdM, yield prediction and predictive scheduling in certain equipment components (e.g., vacuum, abatement, gas supply systems) feeding into overall equipment predictive solution, to support improvements such as reduction in unscheduled downtime and improved yield. | Pervasiveness is defined as a percentage of tools and tool components that will benefit from the application that have been outfitted with all of these technologies or are providing data to support all of these technologies. Minimal is defined as less than 25%. Partial is defined as 25-75% and All is defined as greater than 75%. See also Augmenting Reactive with Predictive (ARP) technical requirements table.
| Pervasiveness of EHM capability as a common health indication capability across tools | Pervasiveness is defined as a percentage of tools that will benefit from the application that have been outfitted with this technology or are providing data to support this technology Minimal is defined as less than 25%. Partial is defined as 25-75% and All is defined as greater than 75%.

## 2021_AMHS
INDEX
Table FAC9 Material Handling Systems Technology Requirements
| Year of Production | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| Wafer Diameter (mm) | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 450 | 450 | 450 | 450 | 450 | 450
| Transport E-MTTR (minutes) per SEMI E10 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| Storage E-MTTR (minutes) per SEMI E10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
| Transport MMBF (mean moves) | 65k | 65k | 65k | 65k | 65k | 65k | 65k | 65k | 65k | 65k | 65k | 65k | 65k | 65k | 65k
| Storage MCBF (mean cycles) | 300k | 300k | 300k | 300k | 300k | 300k | 300k | 300k | 300k | 300k | 300k | 300k | 300k | 300k | 300k
| Mean carrier removal time (sec)** | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
| Mean carrier delivery time (sec)** | 115.2 | <115 | <115 | <115 | <115 | <115 | <115 | <115 | <115 | <115 | <115 | <115 | <115 | <115 | <115
| Downtime to extend system capacity when previously planned (minutes) | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Manufacturable solutions exist, and are being optimized
Manufacturable solutions are known
|  |  | Interim solutions are known | ¿
Manufacturable solutions are NOT known
|  |  | Item is impacted by 450mm transition | **

## Notes for AMHS
INDEX
Explanation of Items for Material Handling Systems Requirements
| Item | Explanation
| Transport E-MTTR (min per SEMI E10) | Mean time to repair equipment-related failures (AMHS Transport); the average time to correct an equipment-related failure and return the equipment to a condition where it can perform its intended function; the sum of all equipment-related failure time (elapsed time, not necessarily total man hours) incurred during a specified time period (including equipment and process test time, but not maintenance delay downtime), divided by the number of equipment-related failures during that period.
Notes: Refers to unscheduled, supplier dependent failures. Includes interbay and intrabay transport systems. Offline repair of components is not included in this time. Includes embedded software control systems (transport controllers). Does not include storage AMHS equipment or errors induced by the storage equipment. Does not include load port, FOUP carrier, or MES level software issues. Does not include reticle system.
| Storage E-MTTR (min per SEMI E10) | Mean time to repair equipment-related failures (AMHS Storage); the average time to correct an equipment-related failure and return the equipment to a condition where it can perform its intended function; the sum of all equipment-related failure time (elapsed time, not necessarily total man hours) incurred during a specified time period (including equipment and process test time, but not maintenance delay downtime), divided by the number of equipment-related failures during that period.
Notes: Refers to unscheduled, supplier dependent failures. Includes storage equipment load ports and embedded software. Does not include interbay or intrabay transport or incidents induced by these errors. Does not include FOUP carrier or MES level software issues. Does not include reticle system.
| Transport MMBF (mean moves between failure) | Average number cycles (delivery from point A to point B) made by AMHS interbay or intrabay transport equipment before a person has to intervene to fix a failure. Number of transport moves / Number of supplier dependent unscheduled failures. Reference transport MPH definition for details on move.
| Storage MCBF (mean cycles between failure) | Average number cycles (delivery from point A to point B) made by AMHS storage equipment before a person has to intervene to fix a failure. Number of storage cycles / Number of supplier dependent unscheduled failures per quarter. Reference cycle time definition for details on stocker cycle.
| Mean carrier removal time (sec) | Mean time vehicle system picks up carrier from loadport after bottleneck EQ sends out “ready to unload” to MES or MES sends “pick up carrier command” to MCS, whichever happens later.
| Mean carrier delivery time (sec) | Mean time vehicle system delivers carrier to loadport ,after bottleneck EQ sends out “ready to load” to MES or MESS sends “deliver carrier command” to MCS, whichever happens later.
| Downtime to extend system capacity when previously planned (minutes) | Impact to material handling system in terms of downtime, in minutes, of the material handling system, required for making connections to system track extensions or a new storage when previsions for this expansion were incorporated in the original design.

## 2021_FICS
INDEX
Table FAC10 Factory Information and Control Systems Technology Requirements
| Year of Production | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| Wafer Diameter (mm) | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 450 | 450 | 450 | 450 | 450 | 450
| Unscheduled downtime of a mission critical application (minutes per year) | ≤5 min | ≤5 min | ≤5 min | ≤5 min | ≤5 min | ≤5 min | ≤5 min | ≤5 min | ≤5 min | ≤5 min | ≤5 min | ≤5 min | ≤5 min | ≤5 min | ≤5 min
| Scheduled downtime of a mission critical application (minutes per year) | <15 min | <15 min | 0 min | 0 min | 0 min | 0 min | 0 min | 0 min | 0 min | 0 min | 0 min | 0 min | 0 min | 0 min | 0 min
| Within-wafer recipe / parameter adjustment | Partial (Litho+) | Yes (All) | Yes (All) | Yes (All) | Yes (All) | Yes (All) | Yes (All) | Yes (All) | Yes (All) | Yes (All) | Yes (All) | Yes (All) | Yes (All) | Yes (All) | Yes (All)
| Relative accuracy of mission critical FICS clocks to fab-level time authority | 1 ms | 1 ms | 1 ms | 1 ms | 1 ms | <1 ms | <1 ms | <1 ms | <1 ms | <1 ms | <1 ms | <1 ms | <1 ms | <1 ms | <1 ms
| FICS design to support peak equipment data transfer rates (production rate for each variable) | 100 Hz | 1 kHz | 1 kHz | 1 kHz | 1 kHz | >1 kHz | >1 kHz | >1 kHz | >1 kHz | >1 kHz | >1 kHz | >1 kHz | >1 kHz | >1 kHz | >1 kHz
| Average number of variables collected off of each tool | >40 | >40 | >40 | >40 | >40 | >100 | >100 | >100 | >100 | >100 | >100 | >100 | >100 | >100 | >100
| FICS factory data transfer rates (Mega Bytes / second-MBPS) based on assumptions of variables/tool, data collection rates and tools / fab (see notes, and above) | >2.4 MBPS | >24 MBPS | >24 MBPS | >24 MBPS | >24 MBPS | >60 MBPS | >60 MBPS | >60 MBPS | >60 MBPS | >60 MBPS | >60 MBPS | >60 MBPS | >60 MBPS | >60 MBPS | >60 MBPS
¿
**

## Notes for FICS
INDEX
Explanation of Items for Factory Information and Control Systems Requirements
| Item | Explanation
| Downtime of mission critical applications (minutes per year) | The time when mission critical applications is not in a condition, or is not available, to perform its intended function. Mission critical applications are those required to keep the entire wafer factory operational. Depending on factory configuration, these include: MES, scheduler / dispatcher, MCS, PCS, recipe download, reticle system, and facilities control systems. Hardware, system, and software upgrades are part of non-scheduled time as defined in SEMI E10-0304E, Section 5.10.1, and are not included in downtime.
| Unscheduled downtime of mission critical applications (minutes per year) | The time when the equipment is not available to perform its intended function due to planned down time events as defined in SEMI E10-0304E. Scheduled down time includes maintenance delay, production test, preventive maintenance, change of consumables, setup, and facilities related events.
| Scheduled downtime of mission critical applications (minutes per year) | The time when the equipment is not available to perform its intended function due to unplanned down time events as defined in SEMI E10-0304E. Scheduled down time includes maintenance delay, repair, change of consumables, out-of-spec inputs, and facilities related events. We should be heading towards zero downtime for software systems, except for major replacement such as complete replacement of application. Zero downtime is technically achievable today, but it isn't clear that the cost/benefit makes it ideal today.
| Within-wafer recipe / parameter adjustment | The granularity to which the factory information and control systems are kept synchronized to a central reliable source. This enables time-critical process control to take place in a distributed architecture. This requirement does not necessarily require the increase in production tool's control "heart beat" frequency. This transition from wafer-level parameter adjustment is being hindered in part by existing communication protocol capabilities (e.g., SECS/GEM) and equipment issues such as safety compromise associated with within wafer adjustment by an outside entity.
| Relative accuracy of mission critical FICS clocks to fab-level time authority | Use of network time synchronization protocols allows the different systems within the factory to remain closely synchronized with a high degree of accuracy, and it relieves the factory host from explicitly setting the factory component’s internal clock(s). The relative accuracy is the level of agreement of these synchronized mission critical systems with a defined fab-level time. The process of synchronization and assessment of synchronization is described in SEMI E148, "Specification for Time Synchronization and Definition of the TS-Clock Object"
| FICS design to support peak equipment data transfer rates (Production rate for each variable) | The peak rate of variable production that the factory information and control systems shall be required to support in collecting information from a single piece of processing equipment and transport to central storage. Note that there may be special cases where higher data rates are required for specific sensors or applications, such as ESD detection. Data analytics will likely be a stronger and stronger driver of this number as we move into big data environments.
| FICS factory data transfer rates (Bytes / second) per 1000 tools in fab | The peak rate of data (in variables / second) that the factory information and control systems shall collect from all processing equipment and transport to central storage, where the average variable size is four bytes or less; if variable size averages are higher, the FICS peak rate requirements are adjusted so that the byte/sec rate requirement remains constant. This number is calculated assuming 40 variables / tool, and 1500 tools / fab. So for example, if each tool produces a value for each variable at 10 Hz, then fab data rates are (10 reports / variable / second) X( 4 bytes / report) X 40 variables / tool) X 1500 tools / fab = 2.4M bytes / second across the fab. The reader may adjust these values by replacing any of the above assumptions. Note that the calculation of process tools per fab is based on a calculation of wafer starts per minute on data provided by SEMI. A supplemental short report is available that provides this calculation. Peak data rates may grow to support higher peak equipment data rates and to support the production of more variables / tool.

## 2021 Facilities
INDEX
Table FAC11 Facilities Technology Requirements
| Year of Production | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| Wafer Diameter (mm) | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
| Wafer Diameter (mm) | 2029: 450; 2030: 450; 2031: 450; 2032: 450; 2033: 450; 2034: 450
| # Mask Levels—DRAM | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39
| Manufacturing (clean room) area m2/wafer starts per month/number / of mask layers (300 mm) | 0.0058 | 0.0058 | 0.0058 | 0.0058 | 0.0058 | 0.0058 | 0.0058 | 0.0058 | 0.0058 | 0.0058 | 0.0058 | 0.0058 | 0.0058 | 0.0058 | 0.0058
| Manufacturing (clean room) area m2/wafer starts per month/number of mask layers (450 mm)** | 2029: 0.0075; 2030: 0.007; 2031: 0.0065; 2032: 0.0065; 2033: ??; 2034: ??
| SubFab to Fab ratio (see definition) | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75
| Maximum allowable electrostatic field on facility surfaces (V/m) for ESD prevention | 1700 | 1550 | 1450 | 1350 | 1200 | 1100 | 1000 | 900 | 850 | ?? | ?? | ?? | ?? | ?? | ??
| Continuous Radiated emission Limit for Facility Allowable Low Frequency (0-30 kHz) Magnetic Field (nT/) for EMI sensitive area | 30 | 20 | 10 | 10 | 9 | 8 | 7 | 6 | 5 | ?? | ?? | ?? | ?? | ?? | ??
| Continuous Radiated emission Limit for Facility Allowable Low Frequency (0-30 kHz) Magnetic Field (nT/) for very EMI sensitive area | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | ?? | ?? | ?? | ?? | ?? | ??
| Continuous Radiated emission Limit for Facility Allowable High Frequency (30 MHz - 3 GHz) Electric(/Magnetic) Field (V/m) for EMI sensitive area (Far Field) | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | ?? | ?? | ?? | ?? | ?? | ??
| Continuous Radiated emission Limit for Facility Allowable High Frequency (30 MHz - 3 GHz) Electric(/Magnetic) Field (V/m) for EMI sensitive area (Near Field) | 0.7 | 0.7 | 0.7 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | ?? | ?? | ?? | ?? | ?? | ??
| Transient Radiated emission Limit for Facility Allowable Spectrum (30 MHz - 3 GHz) Electric(/Magnetic) Field (V/m) for EMI sensitive area (Far Field) | 0.8 | 0.8 | 0.8 | 0.7 | 0.7 | 0.7 | 0.6 | 0.5 | 0.5 | ?? | ?? | ?? | ?? | ?? | ??
| Transient Radiated emission Limit for Facility Allowable Spectrum (30 MHz - 3 GHz) Electric(/Magnetic) Field (V/m) for EMI sensitive area (Near Field) | 1.5 | 1.5 | 1.2 | 1 | 1 | 1 | 0.8 | 0.8 | 0.7 | ?? | ?? | ?? | ?? | ?? | ??
| Continuous Conducted Emission Limit Allowable Continuous Noise (9 kHz - 30 MHz) Level (dBuV) | 80 | 80 | 80 | 70 | 70 | 70 | 70 | 70 | 70 | ?? | ?? | ?? | ?? | ?? | ??
| Transient Conducted Emission Limit Allowable transient signal Level (V) for regular environment | 0.4 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | ?? | ?? | ?? | ?? | ?? | ??
| Transient Conducted Emission Limit Allowable transient signal Level (V) for sensitive environment | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | ?? | ?? | ?? | ?? | ?? | ??
Manufacturable solutions exist, and are being optimized
Manufacturable solutions are known
|  |  | Interim solutions are known | ¿
Manufacturable solutions are NOT known
|  |  | Item is impacted by 450mm transition | **

## Notes for Facilities
INDEX
Explanation of Items for Facilities Requirements:
| Item |  | Explanation
| Manufacturing (cleanroom) area (m2) |  | Manufacturing (cleanroom) area is defined as the gross space in square meters containing the process and metrology equipment used for direct manufacturing processes such as photolithograph, diffusion, etch, thin films, CMP, excluding subfab spaces containing support equipment and facility infrastructure systems. This includes all space within the Fab cleanroom envelope containing process tools, bays and corridors.
| Wafer starts per month (WSPM) |  | Wafer starts per month is defined as the number of wafers introduced into production for processing during a given 30 day period.
| Sub-Fab to Fab ratio |  | Sub-Fab to Fab ratio is defined as the footprint of the support equipment area to the main frame manufacturing area above. The 25% reduction in floor space allows for columns and safety equipment in the subfab that is required by the facility. Relates to factory operations "floor space effectiveness." Note- Some tools have a higher ratio and others have no sub-Fab equipment. This represents an average of all tools in a full DRAM factory toolset.
| Maximum allowable electrostatic field on facility surfaces (V/m) for ESD prevention. |  | Facility surface electric field limits apply to all factory materials-construction materials, furniture, people, equipment, and carriers Refer to SEMI standards E129[3], E78,[4] and E43[5] for measurement methods. Note: This guidance may not apply to EFM prevention for chrome masks. See field limits listed in FAC 5 and comments in sections 6, 9 and 11; See also SEMI E163-0212
| Design criteria for "EMI sensitive area" |  | "EMI sensitive areas" are defined as areas of primary manufacturing floor, where EMI sensitive tools like SEM (Scanning Electron Microscope) TEM (Tunneling Electron Microscope), e-beam, Focused Ion Beam and metrology tools are located. Listed limits cover typical tool requirements. Specific application can require tighter limits
| Design criteria for "very EMI sensitive areas" |  | "Very EMI sensitive areas" are defined as areas, not inline connected with the normal production process. These are typically labs or research areas. In these areas specific measurements requiring very high resolution are necessary and therefore also the limits concerning EMI are tighter compared to normal production area. Sensitive Tool are SEM, TEM , Focused Ion Beam, e-beam and specific metrology tools. Listed limits cover typical tool requirements. Specific application can require tighter limits
| Radiated emission Limit for Facility |  | Radiated emission is electromagnetic fields (a combination of electric and magnetic fields) - similar to the fields used in wireless communication and radio broadcast. Electric field is generated by voltage; magnetic - by current. Similarly, these fields generate undesirable voltages and currents in wires and traces on board in other electronic equipment. These undesirable signals may cause interference with normal operation of equipment and can alter process parameters by interfering with the sensors and controls. Radiated emission' strength diminishes with the distance, meaning that it presents less of a problem to the equipment located far from the source. Mitigation of radiated emission includes selecting low-emission equipment compliant with EMC (electromagnetic compliance) standards, properly grounding it, reducing length of wires that act as antennae and improving shielding, including closing all the covers on the equipment.
| Conducted Emission Limit for Facility |  | Conducted emission is undesirable electrical signal on wires and in the metal structure of equipment. It is typically caused by electrical commutation, servo and variable frequency motors, actuators, RF sources in the FAB, noisy power supplies and alike. Unlike radiated emission, conducted signals can propagate quite far through the wires with minimal attenuation and capable of causing significant operational problems far away from the source. Mitigation of conducted emission includes EMI filters, proper routing of power lines and ground and selection of low-noise equipment. Often, emission is mixed - power cables and ground that may carry conducted signal become antennae for radiating such signal, and the opposite - radiated field creates electrical signal in cables and wires that enter equipment becoming conducted emission interference. Mitigation of such interference typically involves shortening and proper routing of cables and EMI filtering.
References for Table FAC8:
[1] ISO 14644-1.: Cleanrooms and controlled environments, Part 1: Classification of air cleanliness
[2]IEST-RP-CC012.2: Considerations in Cleanroom Design.
[3] SEMI E129: Guide to Assess and Control Electrostatic Charge in A Semiconductor Manufacturing Facility.
[4] SEMI E78: Electrostatic Compatibility – Guide to Assess and Control Electrostatic Discharge (ESD) and Electrostatic Attraction (ESA) for Equipment.
[5] SEMI E43: Guide for Measuring Static Charge on Objects and Surfaces.
[6] SEMI E163-0212 Guide for the handling of reticles and other extremely electrostatic sensitive (EES) items within specially designated areas.

## 2021_Security
INDEX
Table FAC12 Security Technology Requirements
| Year of Production | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
| Wafer Diameter (mm) | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450
Equipment and Fab system protection requirements
| To standardize malware protection measures for newly installed equipment and any additional activities on the equipment. | Standard development | Standard Implementation | CIP | CIP | CIP | CIP | CIP | CIP | CIP | CIP | CIP | CIP | CIP | CIP | CIP | CIP
| To develop a Standard or industry BKM for Synchronizing/harmonizing security measures for various level of control systems (e.g., equipment, SCADA, MES) in the Fab. | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Continuously updating vulnerabilities information for equipment and critical factory operation systems to implement necessary security counter measures in timely manner | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Development of industry Standard or adoption of existing Standard for protection of wireless IIoT devices and data transferred between the wireless device and data collection/processing systems from security breach | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
Security requirements to facilitate data sharing between equipment user/ supplier or across the supply chain
| Adoption and adaptation of newer data security technologies (e.g. quantum cryptography, blockchain) to facilitate information exchange in the supply chain and support traceability for products | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Specifications for data sharing with defined metrics quantifying IP and security risks to allow balancing IP/security risk against expected return. | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Capability for each components of integrated supply chain to detect when there is an anomaly and when the anomaly might be related to a (non-malicious or malicious) security breach. | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
* See below for description of solution type abbreviations
Manufacturable solutions exist, and are being optimized
Manufacturable solutions are known
|  |  | Interim solutions are known | ¿
Manufacturable solutions are NOT known
The state of manufacturing solutions is NOT known

## 2021_SM-BD
INDEX
Table FAC13 Big Data (BD) Technology Requirements
| Year of Production | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| Wafer Diameter (mm) | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 450 | 450 | 450 | 450 | 450 | 450
Volume BD Requirements:
| Daily data collection volume across fab (Terabytes) | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Historical (including archived) data retention in fab: Maintenance Data | > 1 year | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite
| Historical data retention in fab: Diagnostic Output Data | > 1 year | > 1 year | > 1 year | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite
| Historical data retention in fab: Trace Data | > 6 months | > 1 year | > 1 year | > 1 year | > 1 year | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite
| Minimum historical data retention in fab: Process Control and Metrology Data | > 1 year | > 1 year | > 1 year | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite
| Minimum historical data retention in fab: Summary Yield Data | > 1 year | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite
| Minimum historical data retention in fab: Raw Yield Data | > 1 year | > 1 year | > 1 year | > 1 year | > 1 year | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite
| Minimum data retention in fab: Execution Log Data | > 1 year | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite | Infinite
Velocity BD Requirements:
| FICS design to support average equipment data transfer rates (production rate for each variable) | 100Hz | 100Hz | 100Hz | 1kHz | 1kHz | > 1kHz | > 1kHz | > 1kHz | > 1kHz | > 1kHz | > 1kHz | > 1kHz | > 1kHz | > 1kHz | > 1kHz
| Smart data collection: data collection rates tied to need for a static as well as dynamic (e.g., dynamic sampling rates) perspective | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Average number of variables collected per tool | >40 | >40 | >40 | >40 | >40 | >100 | >100 | >100 | >100 | >100 | >100 | >100 | >100 | >100 | >100
| Average number of tools per fab | 1500 | 1500 | 1500 | >1500 | >1500 | >1500 | >1500 | >1500 | >1500 | >1500 | >1500 | >1500 | >1500 | >1500 | >1500
| Peak data collection rates of variables on tools | 2K | 2K | 2K | >2K | >2K | >2K | >2K | >2K | >2K | >2K | >2K | >2K | >2K | >2K | >2K
| FICS factory data transfer rates (Bytes / second) per 1000 tools in fab | >2.4 MBPS | >24 MBPS | >24 MBPS | >24 MBPS | >24 MBPS | >60 MBPS | >60 MBPS | >60 MBPS | >60 MBPS | >60 MBPS | >60 MBPS | >60 MBPS | >60 MBPS | >60 MBPS | >60 MBPS
Variety BD Requirements:
| Standards to support automatic merging of data stores (Maintenance, Diagnostic output, Trace, Process Control/Metrology, Yield and Execution Log) across FI space | Partial | Partial | Partial | Full | Full | Full | Full | Full | Full | Full | Full | Full | Full | Full | Full
Need to enable intelligent data exchange at required rates and volumes across the ecosystem including supply chain (e.g., via common protocols)
Veracity BD Requirements:
| Relative accuracy of mission critical FICS clocks to fab-level time authority | 1ms | 1ms | 1ms | 1ms | 1ms | > 1ms | > 1ms | > 1ms | > 1ms | > 1ms | > 1ms | > 1ms | > 1ms | > 1ms | > 1ms
| Time accuracy and context of human entered data | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Specification of the data quality of data stores per data quality standard metrics | Partial | Full | Full | Full | Full | Full | Full | Full | Full | Full | Full | Full | Full | Full | Full
| Quality of human entered data | None | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
Value BD Requirements:
| Standardized mechanism to determine benefit of data, e.g., in $ / Terabyte of storage | Full Implementation | Full Implementation | Full Implementation | Full Implementation | Full Implementation | Full Implementation | Full Implementation | Full Implementation | Full Implementation | Full Implementation | Full Implementation | Full Implementation | Full Implementation | Full Implementation | Full Implementation
Migration to Big Data Friendly Ecosystem
| Used for offline analysis and modelling | Partial | Full | Full | Full | Full | Full | Full | Full | Full | Full | Full | Full | Full | Full | Full
| Used for "Real-time" on-line diagnostics and control | Minimal | Partial | Partial | Partial | Partial | Partial | Partial | Partial | Partial | Partial | Partial | Partial | Partial | Partial | Partial
Manufacturable solutions exist, and are being optimized
Manufacturable solutions are known
|  | Interim solutions are known | ¿
Manufacturable solutions are NOT known
The state of manufacturing solutions is NOT known

## Notes for BD
INDEX
Explanation of Items for Big Data Requirements
| Item | Description
| Volume BD Requirements: | See narrative for Volume definition; note that data volumes include archived data and represent the capabilities for storage as required. For example "infinite" means that the capabilities exist for retaining all data, but does not necessarily mean that all data is retained.
| Daily data collection volume across fab (Terabytes) | Data collection volumes to support capabilities such as diagnostics and prediction will likely grow exponentially; new methods to manage these data volumes will have to be developed.
| Historical data retention in fab: Maintenance Data (Months) | Increased data retention will be required to support future capabilities such as predictive maintenance (PdM)
| Historical data retention in fab: Diagnostic Output Data | Increased data retention will be required to support future capabilities such as predictive maintenance (PdM)
| Historical data retention in fab: Trace Data | As equipment data collection rates increase, trace data amounts will correspondingly increase; mechanisms for managing these data volumes in real time will have to be developed.
| Minimum historical data retention in fab: Process Control and Metrology Data | Increased data retention will be required to support future capabilities such as Virtual Metrology (VM)
| Minimum historical data retention in fab: Summary Yield Data | Non-active summary dataset. Increased data retention will be required to support future capabilities such as Yield prediction (YP).
| Minimum historical data retention in fab: Raw Yield Data | Increased data retention will be required to support future capabilities such as Yield prediction (YP) and data mining as part of a supply chain traceability process.
| Minimum historical data retention in fab: Execution Log Data | Increased data retention will be required to support future capabilities such as fab simulation / emulation
| Velocity BD Requirements: | See narrative for Velocity definition
| FICS design to support peak equipment data transfer rates (production rate for each variable) | See FICS Requirements table for definition
| FICS design to support peak factory data transfer rates (Bytes / second) per 1000 tools in fab | See FICS Requirements table for definition
| Variety BD Requirements: | See narrative for Variety definition. This includes the concept of a data lake in one place for the merged data that supports joinable data from different sources; standards are needed in this area.
| Standards to support automatic merging of data stores (Maintenance, Diagnostic output, Trace, Process Control/Metrology, Yield and Execution Log) across FI space | Emerging capabilities are increasingly requiring the merging of dissimilar data stores; standards will allow for the automated merging of these data stores to reduce the cost of capability implementation
| Veracity BD Requirements: | See narrative for Veracity definition
| Relative accuracy of mission critical FICS clocks to fab-level time authority | See also FICS Requirements table; Clock schronization per SEMI E148
| Time accuracy of human entered data | Human data entry will continue to be a major issue in achieving data quality levels necessary to support emerging capabilities such as PdM; time accuracy of human entered data will have to be greatly improved and be verifiable
| Specification of the data quality of data stores per data quality standard metrics | Standard have been developed for Data Quality Metrics (SEMI E160) however these standards must be enforced and baselines of minimum data quality for various data stores (e.g., Maintenance) established
| Value BD Requirements: | See narrative for Value definition
| Standardized mechanism to determine benefit of data, e.g., in $ / Terabyte of storage | Improving the value of data will first require a standardized method and metric for determining that value
| Migration to Big Data Friendly Ecosystem | See narrative for big data ecosystem discussion
| Used for offline analysis and modelling | Initially big data friendly eco-systems will be suited for off-line analysis of large archives of data
| Used for "Real-time" on-line diagnostics and control | As response times are assessed and matched to "real-time" requirements of on-line decision making, big data friendly eco-systems will begin to be used in on-line solutions; see narrative for discussion of "real-time".

## 2021_SM-ARPP
INDEX
Table FAC14 Augmenting Reactive with Predictive and Prescriptive (ARPP) Technology Requirements
| Year of Production | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| Wafer Diameter (mm) | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 450 | 450 | 450 | 450 | 450 | 450
| Predictive Scheduling: fab-wide solutions | Partial (area) | All | All | All | All | All | All | All | All | All | All | All | All | All | All
| EHM: fab-wide solutions (common health indicator across tools) | Partial | All | All | All | All | All | All | All | All | All | All | All | All | All | All
EHM: Standards for EHM dashboard design
EHM library component model standards defined for each tool type
Provide standardized equipment component model visibility and use at the factory health monitoring level
| PdM: fab-wide solutions | Partial | Partial | Partial | All | All | All | All | All | All | All | All | All | All | All | All
| VM: fab-wide solutions* | ExD fab-wide, SMet, W2W specific areas | ExD, SMet fab-wide, W2W specific areas | ExD, SMet fab-wide, W2W specific areas | VM = RM in capabilities fab-wide | VM = RM in capabilities fab-wide | VM = RM In capabilities fab-wide | VM = RM in capabilities fab-wide | VM = RM in capabilities fab-wide | VM = RM in capabilities fab-wide | VM = RM in capabilities fab-wide | VM = RM in capabilities fab-wide | VM = RM in capabilities fab-wide | VM = RM in capabilities fab-wide | VM = RM in capabilities fab-wide | VM = RM in capabilities fab-wide
| Yield Prediction (YP): fab-wide solutions* | YEx, DM fab-wide; YP= Minimal | YEx, DM fab-wide; YP= Partial | YEx, DM fab-wide; YP= Partial | YEx, DM fab-wide; YP= Partial | YEx, DM fab-wide; YP= Partial | All | All | All | All | All | All | All | All | All | All
* See below for description of solution type abbreviations
Manufacturable solutions exist, and are being optimized
Manufacturable solutions are known
|  | Interim solutions are known | ¿
Manufacturable solutions are NOT known
The state of manufacturing solutions is NOT known

## Notes for ARPP
INDEX
Explanation of Items for Augmenting Reactive with Predictive and Prescriptive (ARPP) Requirements
| Item | Description
| Predictive Scheduling | Prediction scheduling is already being implemented for lithography area. It is also being utilized. Queue time constraint violation management with future availability prediction is also being done in process areas. Similar solutions could be utilized for other processes Fab-wide predictive scheduling is being considered, but not yet implemented. This would utilize ERP, PM, quality, inventory, etc., predictive information to optimize scheduling Improvements in prediction capabilities will occur in parallel with deployment expansion; improvements will include incorporation of prediction accuracy into prediction strategy.
| EHM | EHM technology will rely heavily on anomaly detection. EHM fab-wide deployment will require some form of standardization on EHM dashboard design and functionality. Issues of data availability, consistency and analytics for improving EHM signal / noise are needed. Reference: J. Moyne, J. Iskandar, P. Hawkins, T. Walker, A. Furest and B. Pollard, D. Stark and G. Crispieri, “Deploying an Equipment Health Monitoring Dashboard and Assessing Predictive Maintenance,” Proceedings of the 24th Annual Advanced Semiconductor Manufacturing Conference (ASMC 2013), Saratoga Springs, New York, (May 2013). EHM Library components model standards: Individual companies have their own standardized models, but no industry-wide standardized concept.
| PdM | PdM solutions address the entire maintenance cycle, from predicting maintenance through addressing recovery from maintenance events towards returning to production. PdM technology is being deployed on selected tool types. Solutions consistency has not been achieved. Improvements in data quality (especially maintenance data systems) will be required for widespread deployment of PdM . SEMI standards for data quality should be leveraged (e.g, E151 and E160). Standards for "PdM ready" systems will eventually be required for cost-effective fab-wide deployment. Standards will likely be in PCS arena (i.e., E133). Effective PdM systems will require a conjoining of statistical (e.g., historical data) analysis and process/equipment knowledge; this in-turn will require closer cooperation between PdM solution provide, user and tool provider. Algorithm improvements in PdM may leverage other prediction technologies (e.g., VM and Yield Prediction).
| VM | VM technology is being deployed on selected tool types. Solution consistency has not been achieved. VM will have a number of uses ranging from "excursion detection" (ExD) "smart metrology" (SMet) to enabling wafer-to-wafer (W2W) or other higher granularity levels of control. The roadmap for these capabilities will largely be a function of the VM accuracy requirements for each capabilities and the underlying data quality and prediction capabilities. VM will approach capabilities of Real Metrology (RM) longer term, with improvements over RM in aspects such as speed. Algorithm improvements in VM may leverage other prediction technologies (e.g., PdM and Yield Prediction).
| Yield Prediction | Yield prediction (YP) will strongly leverage VM prediction techniques. It is expected that yield prediction will follow VM. Prior to YP implementation, yield excursion (YEx) methods will relate yield excursions to FD models and limits. Additionally data mining (DM) techniques will allow root-cause analysis across yield, FD, metrology and equipment trace data stores.
| Simulation as an extension of existing with real-time update: all-systems, fab-wide | This capability will require the confluence of all prediction technologies on a common framework. This capability includes the concept of "digital twin" where physical capabilities have replication in simulation/emulation with real-time update of models. Challenges include real-time update of simulation models, determining prediction quality, extending existing systems (Uis, data stores, etc) to support simulation, and providing standardized methods for incorporation of simulation components.

## 2021_SM-AAA
INDEX
Table FAC15 Advanced Analytics and Applications (AAA) Technology Requirements
| Year of Production | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| Wafer Diameter (mm) | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 450 | 450 | 450 | 450 | 450 | 450 | 450
| Automatic definition (e.g., via defined Monte Carlo procedures) of optimal domains of applicability of analytical approaches, e.g., for ensemble model applications. This definition will evolve as the analytics space evolves (e.g., as we better harness big data capabilities). | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Methodology and results learning: Analytics must be able to observe, learn and determine optimal algorithms in domains where the feedback can support learning in the presence of the dynamics of context change and process drift (e.g., over shorter term time scales with high observability vs. longer term time scales where lack of contextualization results in an inability to learn effectively) | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Techniques to better integrate unsupervised and semi-supervised learning with supervised learning; providing for a better continuum of solutions that span different levels of supervision. | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Framework for capturing and storing learning through feedback on applying analytics. | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Performance-based guidelines for relating analytics to application domains as an aid to determine which analytics to use for which applications; with mapping updated as analytics evolve (e.g., as big data capabilities are more successfully harnessed). Creating a collaborative forum to share results to better understand the analytics to application relationship | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Ability of AAA to fully incorporate SME information (i.e., no knowledge left behind) | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Ability of AAA to fully incorporate SME information automatically | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
* See below for description of solution type abbreviations
Manufacturable solutions exist, and are being optimized
Manufacturable solutions are known
|  | Interim solutions are known | ¿
Manufacturable solutions are NOT known
The state of manufacturing solutions is NOT known

## Notes for AAA
INDEX
Explanation of Items for Advanced Analytics and Applications
| Item | Description
| Automatic definition of optimal domains of applicability of analytical approaches. | The relative capabilities of analytics vary as a function of the attributes of the data as well as the application environment. For example equipment fault detection might be best suited to univariate limits-based monitoring, while yield analysis might be better suited to analytics that can resolve highly complex multivariate and/or pattern-based analysis. The industry needs to have a better understanding of the mapping of analytics to application domains. This mapping will have to be continually updated as needs and data attributes of application domains, as well as analytics and applications capabilities evolve.
| Methodology and results learning: Analytics must be able to observe, learn and determine optimal algorithms in domains where the feedback can support learning in the presence of the dynamics. | Analytics must eventually adapt to and learn from their application environment. This could include learning to apply the optimal algorithm in a specific domain and possibly interchanging between algorithms or sets of algorithms to adjust to changing conditions in the application environment.
| Techniques to better integrate unsupervised and semi-supervised learning with supervised learning; providing for a better continuum of solutions that span different levels of supervision. | Data environments will tend to move towards being more supervised over time, especially a the big data attribute of Variety and associated data merging continues to be improved. Techniques for analysis need to be able to span different levels of supervision so that the level of data supervision can be treated as a continuum rather than different application environments.
| Framework for capturing and storing learning through feedback on applying analytics. | The framework must be portable, re-usable and extensible so that a foundation for learnings can be build upon. Standards may help facilitate the definition of this framework, but it will also require improving IP sharing and trust capabilities.
| Standards for analytics performance reporting that are domain/solution agnostic and domain/solution specific. | The capability of analytics will need to be quantifiable such that they can be easily assessed and compared. Initially metrics will need to be established and agreed upon that are domain/solution agnostic, however, this should be followed by more detailed metrics that are domain/solution specific.
| Performance-based guidelines for relating analytics to application domains as an aid to determine which analytics to use for which applications | The capability of analytical approaches in specific domains will be quantified so that different approaches can be compared and contrasted. These common metrics for quantification must be established in the industry; perhaps leveraging learnings from other industries.
| Ability of AAA to fully incorporate SME information (i.e., no knowledge left behind) | The industry must move towards an environment where all knowledge, whether it be from analytics or SMEs, can be fully incorporated into solution development and solution maintenance. If any pertinent knowledge is not used in the development of maintenance of an analytical solution, the solution is non-optimal and there is a deficiency in the process.
| Ability of AAA to fully incorporate SME information automatically | The process of knowledge integration, including between analytics and SMEs must evolve to a point where it is fully automated and where the integration is at optimal points in the solution process. The information must not only be available and fully utilized, but also utilized at the optimal times in the solution development and maintenance process.

## 2021_SM-DT
INDEX
Table FAC16 Digital Twin (DT) Technology Requirements
| Year of Production | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| Wafer Diameter (mm) | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 450 | 450 | 450 | 450 | 450 | 450
| Standard for DT framework specification that supports interoperability, interchangeability, extensibility and reuse | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Synchronization of DTs with actual system dynamics, both in the short term (e.g., process drift) and longer term (e.g., component and design changes) | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Automatic DT creation, verification and maintenance as part of an extensible DT framework | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| DT framework should be able to provide "what-if" scenario prediction information as part of its normal operational capability. | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| DT capability to pre-validate factory or factory sub-system design before physical realization (e.g., virtual commissioning) | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Simulation as an extension of existing systems with real-time update: all-systems, fab-wide | Minimal | Partial | Partial | Partial | Partial | All | All | All | All | All | All | All | All | All | All
* See below for description of solution type abbreviations
Manufacturable solutions exist, and are being optimized
Manufacturable solutions are known
|  | Interim solutions are known | ¿
Manufacturable solutions are NOT known
The state of manufacturing solutions is NOT known

## Notes for DT
INDEX
Explanation of Items for Digital Twin
| Item | Description
| Standard for DT framework specification that supports interoperability, interchangeability, extensibility and reuse | DT technology must evolve to a point where DTs can interoperate vertically and horizontally in the factory integration ecosystem. This framework must eventually support interoperability, interchangeability, extensibility, reuse, and DT auto creation, commissioning, and maintenance. This framework will likely include an object oriented subclassing scheme to support interoperability and interchangeability as described in: Y. Qamsane et. al., “A comprehensive digital twin framework for semiconductor manufacturing: Case study—optimized scheduling/dispatch’” Advanced Process Control Conference XXXI, October 2019. Available via: http://apcconference.com
| Synchronization of DTs with actual system dynamics, both in the short term and longer term | A key capability that allows DTs to predict performance metrics for which they are designed is the ability to be continually synchronized with the actual environment. The level or rate of synchronization is a function of the DT application domain and DT purpose. As the fidelity of DTs improves, the required level of synchronization will generally increase. Reference: J. Moyne, J. Iskandar, P. Hawkins, T. Walker, A. Furest and B. Pollard, D. Stark and G. Crispieri, “Deploying an Equipment Health Monitoring Dashboard and Assessing Predictive Maintenance,” Proceedings of the 24th Annual Advanced Semiconductor Manufacturing Conference (ASMC 2013), Saratoga Springs, New York, (May 2013).
| Automatic DT creation, verification and maintenance as part of an extensible DT framework | As DTs become a more integral part of operations their creation, commissioning and maintenance will have to become fully automated so that their proliferation is not hindered by restrictions in human resources.
| DT framework should be able to provide "what-if" scenario prediction information. | DTs will be developed to predict specific metrics, thereby supporting optimization of operations. These DTs must also be capable of providing predictions that allow for the exploration of alternative approaches and solutions; the DTs would leverage prediction models along with synchronization to the existing systems to provide an understanding of the impact of alternative "what-if" approaches and solutions that could not be provided by unsynchronized off-line modeling and simulation.
| DT capability to pre-validate factory or factory sub-system design before physical realization (e.g., virtual commissioning) | A common future use of DT technology will be to provide low-cost pre-validation of hard/software designs prior to resource investment. This "virtual commissioning" could include fully virtual systems or combinations of virtual and real systems that interact as necessary to provide the necessary performance metrics for validation. Techniques such as "hardware in the loop" might be leverages for this real-cyber synergy.
| Simulation as an extension of existing with real-time update: all-systems, fab-wide | This capability will require the confluence of all prediction technologies on a common framework. This capability includes the concept of "digital twin" where physical capabilities have replication in simulation/emulation with real-time update of models. Challenges include real-time update of simulation models, determining prediction quality, extending existing systems (Uis, data stores, etc) to support simulation, and providing standardized methods for incorporation of simulation components.

## Cloud vs Edge
INDEX
Table FAC17 Key metrics that currently drive the cloud versus edge-device decision process for placement of solution components
| Item | Edge solutions | Cloud solutions
| Data access | Generally limited to edge device location. | Very high levels of data access from multiple levels.
| Performance | Generally high and oftentimes a motivational factor for choosing an edge solution. | Lower due to communication times to/from cloud, security levels, data management delays, etc. However significant resources are being applied across industries to improve response times [XXX]
| Algorithmic complexity | Edge devices tend towards lower complexity higher response time algorithmic environments. | Cloud solutions are capable of supporting highly complex and diverse algorithmic environments.
| Security | Higher and oftentimes a motivational factor for choosing an edge solution. Solution components that contain a high level of IP are often motivated to be delivered as edge devices. | A technical challenge (see discussion below and in section 5.8). Considerable efforts are being made across industries to address this issue via standards and technical innovation [XXX]. Solution components or solution application environments that have a high level of IP are oftentimes cloud-adverse.
| Business model | Provided by suppliers with higher SME in the particular-application area, or for solutions that require a high level of SME integration. Solutions that require a hardware component (e.g., novel sensor) will also tend towards edge devices. | Generally focused on solutions that are more data intensive and require lower amounts of SME. Solutions or solution components that are repeatable and reusable also tend towards the cloud as well as solutions that are analytic with no directly associated hardware component.
| Cost | Important cost factors are oftentimes hardware, hardware integration, power delivery, hardware invasiveness, etc. | Cost factors are often associated with security (data access, data partitioning, IP) and operational practices.
| Summary: Technical challenge areas | Breadth of data access, hardware costs, analysis power. | Security, performance.
| Summary: Potential solution areas | Integration standards, performance metrics, integration with cloud. | Security standards and solutions, performance metrics, integration with edge devices.

## 2021_SM-IIoT
INDEX
Table FAC18 Industry Internet of Things (IIoT) and the Cloud Technology Requirements
| Year of Production | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| Wafer Diameter (mm) | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 450 | 450 | 450 | 450 | 450 | 450
| Managing fan-in and fan-out of data between edge, intermediate and cloud components of data collection and analysis | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Facilities (fab and sub-fab) need to be equipped with wireless access points and other components to house IIoT capabilities | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
Cloud and Integration BD Requirements:
| Enterprise-wise Integration of fab and facility data stores | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Performance of Data I/O to/from the cloud | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Standards for secure cloud data access | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
Manufacturable solutions exist, and are being optimized
Manufacturable solutions are known
|  | Interim solutions are known | ¿
Manufacturable solutions are NOT known
The state of manufacturing solutions is NOT known

## Notes for IIoT
INDEX
Explanation of Items for Industrial Internet of Things and the Cloud
| Item | Description
| Managing fan-in and fan-out of data between edge, intermediate and cloud components of data collection and analysis | Intelligence and capability of devices will be distributed between edge, cloud and intermediate devices according to requirements of performance, data access, security, etc. The management of this information and control fan-out should not be hindered by technology restrictions, i.e., the solution should be optimizable to the application requirements.
| Facilities (fab and sub-fab) need to be equipped with wireless access points and other components to house IIoT capabilities | Wireless technology will continue to play a larger role in the vertically and horizontally integrated factory systems. The industry must evolve to a point where there are no technology challenges to the decision to use wireless technologies. This evolution will require advancements in security, low power operation, robust wireless data channel operation, etc.
| Cloud and Integration BD Requirements: | See narrative for Cloud definition
| Enterprise-wise Integration of fab and facility data stores | Future capabilities such as fab optimization to production and waste management goals simultaneously, will require integration of fab and facility data stores; integration will move from fab-wide to enterprise-wide
| Performance of Data I/O to/from the cloud | The cloud must meet increasingly stringent requirements of data velocity
| Standards for secure cloud data access | Emerging cloud security capabilities will have to be leveraged to allow the use of the cloud in the face of increasingly stringent security requirements

## 2021_SM-ISC
INDEX
Table FAC19 Integrated Supply Chain (ISC) Technology Requirements
| Year of Production | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| Wafer Diameter (mm) | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 450 | 450 | 450 | 450 | 450 | 450
| Data integration up and down the supply chain | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Distributed trust (e.g., via Blockchain) capabilities/mechanisms fully integrated into supply chain | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Detecting security breaches in supply chain (e.g., via physically unclonable functions-PUFs) | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Field yield (e.g., latent yield) tied back to analytics, including data integration, root-cause-analysis, and yield optimization inside fab | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Concept of a data lake in one place for the merged data across elements of the supply chain (e.g., to support traceability and associated data mining). | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
* See below for description of solution type abbreviations
Manufacturable solutions exist, and are being optimized
Manufacturable solutions are known
|  | Interim solutions are known | ¿
Manufacturable solutions are NOT known
The state of manufacturing solutions is NOT known

## Notes for ISC
INDEX
Explanation of Items for Integrated Supply Chain
| Item | Description
| Data integration up and down the supply chain | Requirements for traceability (e.g., to support problem isolation), as well as quality, throughput, cost and flexibility pressures in supply chain operation will necessitate improved integration between entities up and down the supply chain. This integration will be hindered by issues such as security and trust (e.g., data partitioning and IP), differences in industry standards and practices, and competition for value add along the supply chain. Data integration will likely vary in level and approach depending on interfacing industries, but will require that the semiconductor industries interact more closely with other industries (e.g., standards organizations).
| Distributed trust (e.g., via Blockchain) capabilities/mechanisms fully integrated into supply chain | Accepted capabilities for trust in data linking and traceability must be used up and down the supply chain. Many of these capabilities will come from outside the semiconductor industry, but must be embraced.
| Detecting security breaches in supply chain (e.g., via physically unclonable functions-PUFs) | A key component of trust in supply chain integration will be the ability to detect when there is an anomaly and when the anomaly might be related to a (non-malicious or malicious) security breach.
| Field yield (e.g., latent yield) tied back to analytics, including data integration, root-cause-analysis, and yield optimization inside fab | Optimizing yield within the "four walls" of the fab will continue, however the ability to assess, detect, predict and optimize yield of end-devices in field use will continue to grow in importance as supply chain data integration increases, allowing for application of analytics across the supply chain. Drivers for this trend include cost, competition, end-user requirements and government regulation.
| Concept of a data lake in one place for the merged data across elements of the supply chain (e.g., to support traceability and associated data mining). | The "Variability" component of big data will play a large role in the ISC with a data lake providing a real or virtual location for analysis of supply chain merged data.

## 2021_SM-KN
INDEX
Table FAC20 Reliance on a Knowledge Network (KN) Technology Requirements
| Year of Production | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| Wafer Diameter (mm) | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 450 | 450 | 450 | 450 | 450 | 450
| Analytical capabilities that integrate KN in a structured fashion at defined points in the solutions development, deployment and maintenance | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Analytical capabilities that proactively and automatically solicit and/or accept KN information whenever it is available | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
| Synchronizing KN activities with AAA activities so that KN incorporation is an integral part of AAA development | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
* See below for description of solution type abbreviations
Manufacturable solutions exist, and are being optimized
Manufacturable solutions are known
|  | Interim solutions are known | ¿
Manufacturable solutions are NOT known
The state of manufacturing solutions is NOT known

## Notes for KN
INDEX
Explanation of Items for Reliance on a Knowledge Network
| Item | Description
| Analytical capabilities that integrate KN in a structured fashion at defined points in the solutions development, deployment and maintenance | Analytics will be developed or improved so that SME can be better integrated at key points in the analysis lifecycle, moving towards the vision of "no knowledge left behind". This vision can be thought of as two experts (e.g., an SME and an analytic) conversing without restriction so that an optimal solution can be realized.
| Analytical capabilities that proactively and automatically solicit and/or accept KN information whenever it is available | Analytics will evolve to the point that they will be able to ask for SME advice when needed, and also accept SME advice whenever it is provided.
| Synchronizing KN activities with AAA activities so that KN incorporation is an integral part of AAA development | The integration between analytics and SME information must be seamless and a continuous part of AAA development and maintenance.

## 2021_Educational-CIP
INDEX
| Table FAC21 | Stabilized FI Potential Solutions with Description
| Functionality areas | Solutions | Year of entering CIP | Justification to regard the item "educational"
| Factory Operations (FO) | To provide direct support for experiment design and management associated with NEW Product Introduction (NPI) | 2019 | The solutions are available though not standardized
|  | Factory system implementation for equipment performance visualization and tracking in order for productivity improvement | 2019 | The solutions are available though not standardized
| Production Equipment (PE) | Seamless cascading multiple recipes within a carrier over lots | 2016 | Viable solution to improve utilization but can't be called "potential" solution anymore.
|  | Hot-wafer take over capability on the production tool | 2015 | Important solution for keeping cycle time as short as possible for critical reasons (e.g., send ahead metrology, important sample) but can't be called "potential" solution anymore
|  | On-tool wafer sorting between carriers in select tools | 2017 | Having been realized where it is necessary, or at least known as viable solution.
|  | Process quality improvement through APC (including R2R control, FDC, SPC and Fault Prediction) as a design-in requirement; the APC that is leveraged could be inside or outside of the equipment | 2011 | APC has been implemented for some time. There is a lot of room for improvement but it is not "potential" solution anymore.
|  | Equipment functional verification through techniques including fingerprinting and equipment health monitoring | 2017 | Dashboard function for equipment fingerprinting and health data becomes prevalent.
|  | Capability to limit utilities and electric power consumption during equipment idle periods; includes management of equipment "energy saving mode" without impacting throughput or quality | 2017 | Standards to support equipment sleep mode coordination with FICS became available.
|  | To make energy efficient design an important equipment design metric, and waste reduction equipment design and operation performance metrics | 2015 | There is a SEMI Standard that provides metrics for equipment energy efficiency. It can also be used to evaluate utility use efficiency.
| Automated Material Handling Systems(AMHS) | 450 mm Interface standards development | 2016 | Physical interface Standards Suite for AMHS and 450 Carriers/production equipment had completed and stabilized. It is expected, however, once 450mm systems implementation for quantitative production starts the Standards Suite may need some more revisions.
|  | Uninterrupted software upgrade | 2017 | This solution is not wafer diameter dependent and has already been available.
|  | Visualization of AMHS information | 2017 | This solution is not wafer diameter dependent and has already been available.
| Factory Information & Control Systems (FICS) | Cross-module supervisory Run-to Run process control | 2015 | Have already been implemented for critical processes
|  | Stds-based equipment data collection for process monitoring and diagnostics via EDA interface | 2015 | Have already been implemented for critical equipment
|  | Data Quality and Factory-wide standardized time synchronization | 2015 | Standards are available
|  | Integrated FICS to facilitate data searches and information correlation on process and operational data | 2015 | Correlation is possible but speed can be improved
|  | Integrated FICS to support cross-site processing | 2015 | already been implemented
| Facilities | Early and accurate identification of production equipment installation demand requirements for basebuild construction (e.g. pressure, loads, flows, connection size) | From 300 mm tools | SEMI E6 and other Standards are available to specify and communicate production equipment installation demand between supplier and user. Without quantifying how early or accurate these cannot be solutions.
| Security | Establishment and Operation of Security Audit, Assessment and Incident Management Processes | 2018 | Fabs already implemented security management system but are in needs of CIP
| SM-Big Data (BD) | Volume--No Entries
|  | Velocity--Solutions to support peak equipment and peak factory data transfer rates for off-line data analysis | 2019 | Generally solved and in the CIP space. There are restrictions in the wireless space (Zigbee, etc.), 5G problems with line of site, etc.; IIoT funneling to the higher levels is an issue.
Variety-- No Entries
Veracity-- No Entries
Value-- No Entries
|  | Other-- Fab-wide big data ecosystem | 2019 | Capabilities exist and implementation is not a technology issue.
| SM-Augmenting Reactive with Predictive (ARP) | Standards for virtual metrology capabilities and interfaces | 2019 | SEMI E133 addresses this at a basic level. Additional standards will likely be developed as part of CIP.
|  | Re-usable VM methods for excursion detection to support across- fab implementation | 2019 | VM capabilities for excursion detection will continue to improve as model accuracy and understanding of that accuracy improve, as VM is used for other purposes, and as VM standards continue to be developed and more widely implemented
|  | Standard to support Lot-based, real-time predictive scheduling and dispatching algorithms integrated with AMHS | 2019 | Revision to SEMI E87 and a new Standard, SEMI E171 support predictive scheduling

## 2021_Crosscut
INDEX
Table FAC22 Crosscut Issues (Infrastructure Focus Teams and Specialist Focus Teams) Relating to Factory Integration
| Crosscut Topic | Counterpart IFT(s) | Factory integration related key challenges
| Front end Process (FEP) | More Moore Beyond CMOS Outside System Connectivity | [Common across counterparts IFTs] Facility to support material (e.g., chemical distribution to abatement systems) and production environment (e.g., AMC, ESD) for novel device structure including materials used in them.
FICS to support increased number of parameters, detailed controls with FB from metrology and other support tool and systems.
ARP will impact all FE process in some way; coordinate roadmaps to make sure FEPs are moving toward "prediction ready", e.g., by providing necessary data
Novel devices and their production processes may require more extensive data collection and its utilization for improvement of process performance. Getting to know FEP's BD data requirements (identification of 5V) is prerequisite for preparedness of BD system
| Back end Process (BEP) | More Moore Beyond CMOS Outside System Connectivity Packaging Integration | [Common across counterparts IFTs] FICS for backend may need optimization including customization of supporting standards to allow full integration of data through processes (i.e., FEP-BEP integration)
Tests needs (sampling rates and frequency) must be optimized by utilizing BD based analytics; BEP may impose higher data rate and bandwidth requirements in FICS
Better integration between BEP and FEP will be required both to meet device design requirements and to achieve yield and productivity objectives
| Lithography | Lithography | Continuing to understand EUVL (power, consumables) requirements from FI perspective; completely different factory design is expected.
Fast reticle change; reticle storage issues and reticle buffering to support practical cycle time (especially for small lots operation)
Facility to support production environment (e.g.., AMC, ESD) for reticle and tighter process control needs.
Predictive scheduling is important to lithography as it is often the critical process to maintaining overall throughput of the Fab.
Lithography DFM needs. EFM may be added as it is confirmed as mask quality detractor.
| Sustainable Manufacturing Green Chemistry | ESH | ESH/S to identify required Fab/equipment capabilities to measure resource consumption and release/emission to environment.
FI to provide necessary metrics/methodology/data systems/infrastructure to accommodate ESH objectives
| Real and Virtual Metrology | Metrology | Comprehensive metrology roadmap to be jointly defined.
Virtual Metrology is an emerging cross-cut issue. The role of VM in metrology will be increasing; VM may become an integral part of some metrology offerings. Metrology capabilities will become part of the prediction engine input (e.g., for throughput projections) and output (e.g., for VM tuning).
Metrology requirements on ESD and EMI could impact Facility targets
| Yield Enhancement | Yield Enhancement | Facility/PE needs to contemplate necessary capabilities for supporting YE related requirements at different interface points (i.e., POS, POD, POC, POE, POU, POP)
Facility need to support AMC, temperature, humidity and other environment controls as required by YE
FI and YE to discuss opportunities to optimize tests (frequencies, condition to do/skip test) by utilizing BD and predictions
YE to benefit from yield excursion detection and analysis and ultimately yield prediction provided as part of FICS, ARP and BD capabilities.
| Big Data | All | Big data and prediction requirements and solutions will impact and provide solutions for Test.
Big data and associated enabling of prediction technologies and advanced analytics will allow for improvement of and innovation in YE techniques, metrology and real + VM metrology capabilities, and better integration of FEP and BEP.
Big Data and its better enabling of prediction and other analytics will improve all aspects of FI allowing for realization of production capabilities to support emerging production requirements from IFTs such as More Moore and Beyond CMOS